## DT_Vandalization_Jan2025
Date | Description | DT Name | Business Unit | Undertaking | Address | Status | Ownership | Capacity | Name of Missing Item | Latitude | Longitude
2025-01-20 | 11-IgandoINJ-T2-General Hospital-ISHERIOLOFIN 500kva DT | 11-IgandoINJ-T2-General Hospital-ISHERI OLOFIN | Oshodi | Igando | Isheri round about Idimu | Resolved | Public | 500KVA | 2nos 500mm2 single core cable from meter to Feeder pillar--Red & Yellow phase | 6.5766 | 3.2807
07/01/25 | Cocker Roundabout '1' 500KVA DT | 11-IlupejuINJ-T3-Coker-COKER ROUNDABOUT I | Shomolu | Ilupeju | Coker Roundabout | Resolved | Public | 500KVA | 5meters of 500mm2 Single core cabler | 6.5522 | 3.362
17/01/25 | 11 - MarylandINJ -T3 - Sylvia-Adebayo Makolu DT | 11-MarylandINJ-T3-Sylvia-ADEBAYO MOKUOLU | Shomolu | Mende | Makolu Community | Resolved | Public | 500KVA | 5 meters 500mm2 Single Core Cable | 6.562 | 3.3714
22/1/2025 | Case of vandalized Alowonle 500KVA | 11-Abule IrokoINJ-T1-Abule Iroko-ALOWONLE | Abule-Egba | Ijaiye | Along Alowonle Street, | Resolved | Public | 500KVA | 8m upriser cable and earth wire | 6.7049 | 3.2679
24/01/25 | Attempted vandalism of Arifanla 500kva DT | 11-AkuteINJ-T1-Oyeyemi-ARIFANLA | Abule-Egba | Akute | Arifanla | Resolved | Public | 500KVA | The vandal was electrocuted and copse taking to a mortuary at Ogun state | 6.6836 | 3.3679
2025-02-11 | 11-AjaoNJ-T2-Runview Adewunmi 500kVA | 11-AjaoINJ-T2-Run View-ADEWUMI | Oshodi | Ajao | LK Peters street run view estate of Airport road Ajao Estate | Resolved | Public | 500KVA | R, Y &B 500mm square cables from feeder pillar to transformer | 6.5524 | 3.3191
2025-03-12 | DT VANDALISM (ADEITE 500KVA, EX FAKALE SOURCE 33KV FEEDER BAND A) | 33-IkoroduTCN-FAKALE Source-ADEITE | Ikorodu | Odogunyan | Adeite | Resolved | Public | 500kVA | 12 Meters of 500mm XLC Incomer Cable; 500mm Cable Lugs and other Accessories | 6.6849 | 3.4864
10/03/25 | Vandalism of Bishop Thomas 500KVA DT under Ilupeju UT | 11-Ilupeju BypassINJ-T1-Industrial-BISHOP | Shomolu | Ilupeju | Bishop Thomas Street, Ilupeju | Resolved | Public | 500KVA | 10meters of 500mm2 Single Core Cable | 6.5522 | 3.36
25/3/2025 | Case of vandalized Abiodun Lawson were 2no of 500mm | 11-AmuwoINJ-T2-Jakande 2-ABIODUN LAWSON | Oshodi | Amuwo | Abiodun Lawson Street, Unity Estate, Amuwo | Ongoing | Public | 500KVA | 2nos of 500mm cables | 6.4707 | 3.301
28/1/2025 | VANDALIZED 150MM X 4C LV CABLE ON 11-OpebiINJ-T1-Olusosun | 11-OpebiINJ-T1-Olusosun-TRIUMPHANT CHRISTIAN CENTRE | Ikeja BU | Oregun | location within Triumphant Christian Centre Compound at No 95/97Kudirat Abiola Way Oregun | Ongoing | Public | 200KVA | The Vandals gained access into the DT and carted away 150mm LV cable | 6.5936 | 3.3715
2025-02-17 | Security received the reported case of Vandalism of Jesse Jetta 500kva Ex-Odofin 11kv Feeder Igbogbo where about 50 meters of 500mm single core cable was carted away. | 11-IgbogboINJ-T1-Ofin-JESSE JETTA | Ikorodu | Igbogbo | Offin | Ongoing | Public | 500KVA | 50 meters of 500mm single core cable | 6.5496 | 3.5095
2025-02-17 | Security received the reported case of Vandalism of HVDS Pole 171A Agbele 11kv Feeder Igbogbo where 4 metres of 4 core cables was vandalized and carted away. | 11-IgbogboINJ-T2-Agbele-HVDS POLE 171A/171B | Ikorodu | Igbogbo | Agbele | Ongoing | Public | 50KVA | 4 metres of 4 core cables | 6.585 | 3.5297
2025-02-23 | Vandalization of Ishefun 500KV S/S under 11-AlajaINJ-T1-Koloba-Ishefun where 500mm2 Vandalised cable was stolen | 11-AlajaINJ-T1-Koloba-GOLD ESTATE OR LCBS | Akowonjo | Ayobo | along Ojogbede street, Crystalline bus stop off Camp David road, Ishefun, Ayobo, Lagos | Ongoing | Public | 500KVA | 500mm2 Incomer cables | 6.5845 | 3.2174
19/2/2025 | Case of vandalized Grailand Local 500KVA(300KVA) | 11-IjuINJ-T1-Grailand-GRAILAND FAIRFIED RAINBOW | Abule-Egba | Akute | Along Iju -Ajuwon | Ongoing | Public | 300KVA | 6m 500m armoured cable | 6.6742 | 3.3401
2025-03-13 | CASE OF VANDALIZED ROFO3 500KVA EX CANTONMENT 11KV BAND C | 11-OdogunyanINJ-T2-Cantonment-ROFO III | Ikorodu | Lasunwon | Rofo | Ongoing | Public | 500KVA | 5 meters of 500mm single core cable | 6.6559 | 3.5044
2025-03-12 | Suara 500KVA DT was vandalized and about 5 Meters of XLPE Cable was | 11-OdogunyanINJ-T1-Agodo-SUARA | Ikorodu | Lasunwon | Suara | Ongoing | Public | 500KVA | 5 Meters of XLPE Cable | 6.6535 | 3.5125
2025-02-11 | Vandalization of Olusegun Aje 200kvA s/s 11-Unity feeder | 11-New GowonINJ-T1-Olorunadaba-PRIMATEK PLAZA | Akowonjo | Egbeda | Bokku Supermarket along Idimu-Egbeda road, Car wash bus stop, Egbeda | Ongoing | Private | 200KVA | Red,Yellow 150mm/4core incoming cable | 6.6016 | 3.292
2025-03-17 | Please be informed that Upriser cables not on potential were vandalized in the location over the weekend. | Itire ISS | Oshodi | Itire ISS | Itire ISS | Resolved | Public | 3X15MVA | 13 meters of 150 upraiser cable for Ago 11kv feeder | 6.5098 | 3.3247
2025-08-03 | Attempted vandalism at Ago line 1armoured cable | Itire ISS | Oshodi | Itire ISS | Itire ISS | Resolved | Public | 3X15MVA | Attempted | 6.5098 | 3.3247